## Sheet1
CostCode | CostCodeDescription | CostCodeQuantity | CostCodeUnit | CostCodeDiv | CostCodeDivDesc | Number | Description | Quantity | Units | MatlConv | MatlUnits | MatlCostRate | LbrConv | LbrUnits | LbrBaseCostRate | LbrBurdenCostRate | EqpConv | EqpUnits | EqpBaseCostRate | EqpBurdenCostRate | SubConv | SubUnits | SubCostRate | OtherConv | OtherUnits | OtherCostRate
01 | Hvac Equipment | 1 | LS | 01 | Condenser Water Piping | 1 | CWP-1 Pump | 1 | ea | 1 | ea | 8175 | 8.11 | hrs | 25 | 5 | 1 | ea | 0 | 0 | 1 | ea | 0 | 1 | ea | 0
01 | Hvac Equipment | 1 | LS | 01 | Condenser Water Piping | 2 | CWP-2 Pump | 1 | ea | 1 | ea | 8175 | 8.1 | hrs | 25 | 5 | 1 | ea | 0 | 0 | 1 | ea | 0 | 1 | ea | 0
02 | Sch 40 Blk 150# WLD. | 1 | LS | 01 | Condenser Water Piping | 3 | 8" 90 elbow -LR | 4 | ea | 1 | ea | 130.38 | 6.4 | hrs | 25 | 5 | 1 | ea | 0 | 0 | 1 | ea | 0 | 1 | ea | 0
02 | Sch 40 Blk 150# WLD. | 1 | LS | 01 | Condenser Water Piping | 4 | 1/2" thread-o-let | 24 | ea | 1 | ea | 8.35 | 1.1 | hrs | 25 | 5 | 1 | ea | 0 | 0 | 1 | ea | 0 | 1 | ea | 0
02 | Sch 40 Blk 150# WLD. | 1 | LS | 01 | Condenser Water Piping | 5 | 3/4 " thread-o-let | 16 | ea | 1 | ea | 9.62 | 1 | hrs | 25 | 5 | 1 | ea | 0 | 0 | 1 | ea | 0 | 1 | ea | 0
02 | Sch 40 Blk 150# WLD. | 1 | LS | 01 | Condenser Water Piping | 6 | 1" thread-p-let | 4 | ea | 1 | ea | 11.02 | 1.25 | hrs | 25 | 5 | 1 | ea | 0 | 0 | 1 | ea | 0 | 1 | ea | 0
03 | Sch 40 Blk Grooved | 1 | LS | 01 | Condenser Water Piping | 7 | Pipe Roof Supports | 14 | ea | 1 | ea | 125 | 1.1 | hrs | 28.3 | 4.066 | 0 | hrs | 0 | 0 | 1 | ea | 0 | 1 | ea | 0
03 | Sch 40 Blk Grooved | 1 | LS | 01 | Condenser Water Piping | 8 | 8" pipe sch 40 blk grvd | 20 | lnft | 1 | lnft | 12.67 | 0.42 | hrs | 25 | 5 | 1 | lnft | 0 | 0 | 1 | lnft | 0 | 1 | lnft | 0
03 | Sch 40 Blk Grooved | 1 | LS | 01 | Condenser Water Piping | 9 | 10" Pipe sch 40 blk grvd | 160 | lnft | 1 | lnft | 19.45 | 0.37 | hrs | 25 | 5 | 1 | lnft | 0 | 0 | 1 | lnft | 0 | 1 | lnft | 0
03 | Sch 40 Blk Grooved | 1 | LS | 01 | Condenser Water Piping | 10 | 12" Pipe sch 40 blk grvd | 60 | lnft | 1 | lnft | 25.79 | 0.42 | hrs | 25 | 5 | 1 | lnft | 0 | 0 | 1 | lnft | 0 | 1 | lnft | 0
03 | Sch 40 Blk Grooved | 1 | LS | 01 | Condenser Water Piping | 11 | 10" 45 elow #11 | 8 | ea | 1 | ea | 639 | 3.04 | hrs | 25 | 5 | 1 | ea | 0 | 0 | 1 | ea | 0 | 1 | ea | 0
03 | Sch 40 Blk Grooved | 1 | LS | 01 | Condenser Water Piping | 12 | 16" 45 elbow #11 | 4 | ea | 1 | ea | 2026 | 4.56 | hrs | 25 | 5 | 1 | ea | 0 | 0 | 1 | ea | 0 | 1 | ea | 0
03 | Sch 40 Blk Grooved | 1 | LS | 01 | Condenser Water Piping | 13 | 10" 90 elbow #10 | 4 | ea | 1 | ea | 839.25 | 3.04 | hrs | 25 | 5 | 1 | ea | 0 | 0 | 1 | ea | 0 | 1 | ea | 0
03 | Sch 40 Blk Grooved | 1 | LS | 01 | Condenser Water Piping | 14 | 16" tee #20 | 2 | ea | 1 | ea | 2767.75 | 6.84 | hrs | 25 | 5 | 1 | ea | 0 | 0 | 1 | ea | 0 | 1 | ea | 0
04 | HVAC Specialties | 1 | LS | 01 | Condenser Water Piping | 15 | 1" flow switch | 2 | ea | 1 | ea | 135 | 0.75 | hrs | 25 | 5 | 1 | ea | 0 | 0 | 1 | ea | 0 | 1 | ea | 0
04 | HVAC Specialties | 1 | LS | 01 | Condenser Water Piping | 16 | 1/2" pete's plug | 14 | ea | 1 | ea | 4.22 | 3 | hrs | 25 | 5 | 1 | ea | 0 | 0 | 1 | ea | 0 | 1 | ea | 0
04 | HVAC Specialties | 1 | LS | 01 | Condenser Water Piping | 17 | 10" flx conn. rubber flg | 4 | ea | 1 | ea | 385 | 3.5 | hrs | 25 | 5 | 1 | ea | 0 | 0 | 1 | ea | 0 | 1 | ea | 0
01 | HVAC Equipment | 1 | LS | 02 | Sand Filter Piping | 18 | Sand Filter & Pump | 1 | ea | 1 | ea | 3500 | 12 | hrs | 25 | 5 | 1 | ea | 0 | 0 | 1 | ea | 0 | 1 | ea | 0
02 | Sch 40 Blk Grooved | 1 | LS | 02 | Sand Filter Piping | 19 | 8" pipe sch 40 blk grvd | 20 | lnft | 1 | lnft | 12.67 | 0.42 | hrs | 25 | 5 | 1 | lnft | 0 | 0 | 1 | lnft | 0 | 1 | lnft | 0
02 | Sch 40 Blk Grooved | 1 | LS | 02 | Sand Filter Piping | 20 | 10" Pipe sch 40 blk grvd | 160 | lnft | 1 | lnft | 19.45 | 0.37 | hrs | 25 | 5 | 1 | lnft | 0 | 0 | 1 | lnft | 0 | 1 | lnft | 0
02 | Sch 40 Blk Grooved | 1 | LS | 02 | Sand Filter Piping | 21 | 12" Pipe sch 40 blk grvd | 60 | lnft | 1 | lnft | 25.79 | 0.42 | hrs | 25 | 5 | 1 | lnft | 0 | 0 | 1 | lnft | 0 | 1 | lnft | 0
02 | Sch 40 Blk Grooved | 1 | LS | 02 | Sand Filter Piping | 22 | 10" 45 elow #11 | 8 | ea | 1 | ea | 639 | 3.04 | hrs | 25 | 5 | 1 | ea | 0 | 0 | 1 | ea | 0 | 1 | ea | 0
02 | Sch 40 Blk Grooved | 1 | LS | 02 | Sand Filter Piping | 23 | 16" 45 elbow #11 | 4 | ea | 1 | ea | 2026 | 4.56 | hrs | 25 | 5 | 1 | ea | 0 | 0 | 1 | ea | 0 | 1 | ea | 0
02 | Sch 40 Blk Grooved | 1 | LS | 02 | Sand Filter Piping | 24 | 10" 90 elbow #10 | 4 | ea | 1 | ea | 839.25 | 3.04 | hrs | 25 | 5 | 1 | ea | 0 | 0 | 1 | ea | 0 | 1 | ea | 0
02 | Sch 40 Blk Grooved | 1 | LS | 02 | Sand Filter Piping | 25 | 16" tee #20 | 2 | ea | 1 | ea | 2767.75 | 6.84 | hrs | 25 | 5 | 1 | ea | 0 | 0 | 1 | ea | 0 | 1 | ea | 0
03 | Copper KLM Lead Free | 1 | LS | 02 | Sand Filter Piping | 26 | 1" L hard tube | 20 | lnft | 1 | lnft | 7.14 | 0.05 | hrs | 25 | 5 | 1 | lnft | 0 | 0 | 1 | lnft | 0 | 1 | lnft | 0
03 | Copper KLM Lead Free | 1 | LS | 02 | Sand Filter Piping | 27 | 1- 1/4" L hard tube | 20 | lnft | 1 | lnft | 9.83 | 0.05 | hrs | 25 | 5 | 1 | lnft | 0 | 0 | 1 | lnft | 0 | 1 | lnft | 0
03 | Copper KLM Lead Free | 1 | LS | 02 | Sand Filter Piping | 28 | 1-1/2" L hard tube | 120 | lnft | 1 | lnft | 12.67 | 0.06 | hrs | 25 | 5 | 1 | lnft | 0 | 0 | 1 | lnft | 0 | 1 | lnft | 0
03 | Copper KLM Lead Free | 1 | LS | 02 | Sand Filter Piping | 29 | 1" ellbow cxc | 6 | ea | 1 | ea | 8.42 | 0.5 | hrs | 25 | 5 | 1 | ea | 0 | 0 | 1 | ea | 0 | 1 | ea | 0
03 | Copper KLM Lead Free | 1 | LS | 02 | Sand Filter Piping | 30 | 1-1/4" ellbow cxc | 2 | ea | 1 | ea | 12.72 | 0.6 | hrs | 25 | 5 | 1 | ea | 0 | 0 | 1 | ea | 0 | 1 | ea | 0
03 | Copper KLM Lead Free | 1 | LS | 02 | Sand Filter Piping | 31 | 1" caps cxc | 1 | ea | 1 | ea | 4.63 | 0.25 | hrs | 25 | 5 | 1 | ea | 0 | 0 | 1 | ea | 0 | 1 | ea | 0
03 | Copper KLM Lead Free | 1 | LS | 02 | Sand Filter Piping | 32 | 1" Hangers | 4 | ea | 1 | ea | 5 | 0.5 | hrs | 25 | 5 | 1 | ea | 0 | 0 | 1 | ea | 0 | 1 | ea | 0
03 | Copper KLM Lead Free | 1 | LS | 02 | Sand Filter Piping | 33 | 1-1/4" Hangers | 4 | ea | 1 | ea | 5 | 0.5 | hrs | 25 | 5 | 1 | ea | 0 | 0 | 1 | ea | 0 | 1 | ea | 0
04 | Nibco Theaded Valves | 1 | LS | 02 | Sand Filter Piping | 34 | 1" T413 125# Valve | 2 | ea | 1 | ea | 83 | 0.6 | hrs | 25 | 5 | 1 | ea | 0 | 0 | 1 | ea | 0 | 1 | ea | 0
04 | Nibco Theaded Valves | 1 | LS | 02 | Sand Filter Piping | 35 | 1" T585 ball valve | 8 | ea | 1 | ea | 34.4 | 0.6 | hrs | 25 | 5 | 1 | ea | 0 | 0 | 1 | ea | 0 | 1 | ea | 0
05 | Specialties | 1 | LS | 02 | Sand Filter Piping | 36 | 1" 2-way Cntrl Scr | 1 | ea | 1 | ea | 75 | 0.6 | hrs | 25 | 5 | 1 | ea | 0 | 0 | 1 | ea | 0 | 1 | ea | 0
01 | Copper KLM Lead Free | 1 | LS | 03 | Aquarium System Piping | 37 | 1" L hard tube | 200 | lnft | 1 | lnft | 7.14 | 0.05 | hrs | 25 | 5 | 1 | lnft | 0 | 0 | 1 | lnft | 0 | 1 | lnft | 0
01 | Copper KLM Lead Free | 1 | LS | 03 | Aquarium System Piping | 38 | 1- 1/4" L hard tube | 100 | lnft | 1 | lnft | 9.83 | 0.05 | hrs | 25 | 5 | 1 | lnft | 0 | 0 | 1 | lnft | 0 | 1 | lnft | 0
01 | Copper KLM Lead Free | 1 | LS | 03 | Aquarium System Piping | 39 | 1-1/2" L hard tube | 120 | lnft | 1 | lnft | 12.67 | 0.06 | hrs | 25 | 5 | 1 | lnft | 0 | 0 | 1 | lnft | 0 | 1 | lnft | 0
01 | Copper KLM Lead Free | 1 | LS | 03 | Aquarium System Piping | 40 | 1" ellbow cxc | 25 | ea | 1 | ea | 8.42 | 0.5 | hrs | 25 | 5 | 1 | ea | 0 | 0 | 1 | ea | 0 | 1 | ea | 0
01 | Copper KLM Lead Free | 1 | LS | 03 | Aquarium System Piping | 41 | 1-1/4" ellbow cxc | 12 | ea | 1 | ea | 12.72 | 0.6 | hrs | 25 | 5 | 1 | ea | 0 | 0 | 1 | ea | 0 | 1 | ea | 0
01 | Copper KLM Lead Free | 1 | LS | 03 | Aquarium System Piping | 42 | 1" caps cxc | 8 | ea | 1 | ea | 4.63 | 0.25 | hrs | 25 | 5 | 1 | ea | 0 | 0 | 1 | ea | 0 | 1 | ea | 0
01 | Copper KLM Lead Free | 1 | LS | 03 | Aquarium System Piping | 43 | 1" Hangers | 4 | ea | 1 | ea | 5 | 0.5 | hrs | 25 | 5 | 1 | ea | 0 | 0 | 1 | ea | 0 | 1 | ea | 0
01 | Copper KLM Lead Free | 1 | LS | 03 | Aquarium System Piping | 44 | 1-1/4" Hangers | 4 | ea | 1 | ea | 5 | 0.5 | hrs | 25 | 5 | 1 | ea | 0 | 0 | 1 | ea | 0 | 1 | ea | 0
02 | NIBCO Theaded Valves | 1 | LS | 03 | Aquarium System Piping | 45 | 1" T413 125# Valve | 2 | ea | 1 | ea | 83 | 0.6 | hrs | 25 | 5 | 1 | ea | 0 | 0 | 1 | ea | 0 | 1 | ea | 0
02 | NIBCO Theaded Valves | 1 | LS | 03 | Aquarium System Piping | 46 | 1" T585 ball valve | 8 | ea | 1 | ea | 34.4 | 0.6 | hrs | 25 | 5 | 1 | ea | 0 | 0 | 1 | ea | 0 | 1 | ea | 0
03 | HVAC Equipment | 1 | LS | 03 | Aquarium System Piping | 47 | Dolphin Systems | 1 | ea | 1 | ea | 38790 | 16 | hrs | 25 | 5 | 1 | ea | 0 | 0 | 1 | ea | 0 | 1 | ea | 0
01 | Copper KLM Lead Free | 1 | LS | 04 | Dom. Cold Water Piping | 48 | 1" L hard tube | 1000 | lnft | 1 | lnft | 7.14 | 0.05 | hrs | 25 | 5 | 1 | lnft | 0 | 0 | 1 | lnft | 0 | 1 | lnft | 0
01 | Copper KLM Lead Free | 1 | LS | 04 | Dom. Cold Water Piping | 49 | 1- 1/4" L hard tube | 500 | lnft | 1 | lnft | 9.83 | 0.05 | hrs | 25 | 5 | 1 | lnft | 0 | 0 | 1 | lnft | 0 | 1 | lnft | 0
01 | Copper KLM Lead Free | 1 | LS | 04 | Dom. Cold Water Piping | 50 | 1-1/2" L hard tube | 300 | lnft | 1 | lnft | 12.67 | 0.06 | hrs | 25 | 5 | 1 | lnft | 0 | 0 | 1 | lnft | 0 | 1 | lnft | 0
01 | Copper KLM Lead Free | 1 | LS | 04 | Dom. Cold Water Piping | 51 | 1" ellbow cxc | 50 | ea | 1 | ea | 8.42 | 0.5 | hrs | 25 | 5 | 1 | ea | 0 | 0 | 1 | ea | 0 | 1 | ea | 0
01 | Copper KLM Lead Free | 1 | LS | 04 | Dom. Cold Water Piping | 52 | 1-1/4" ellbow cxc | 10 | ea | 1 | ea | 12.72 | 0.6 | hrs | 25 | 5 | 1 | ea | 0 | 0 | 1 | ea | 0 | 1 | ea | 0
01 | Copper KLM Lead Free | 1 | LS | 04 | Dom. Cold Water Piping | 53 | 1" caps cxc | 10 | ea | 1 | ea | 4.63 | 0.25 | hrs | 25 | 5 | 1 | ea | 0 | 0 | 1 | ea | 0 | 1 | ea | 0
01 | Copper KLM Lead Free | 1 | LS | 04 | Dom. Cold Water Piping | 54 | 1" Hangers | 20 | ea | 1 | ea | 5 | 0.5 | hrs | 25 | 5 | 1 | ea | 0 | 0 | 1 | ea | 0 | 1 | ea | 0
01 | Copper KLM Lead Free | 1 | LS | 04 | Dom. Cold Water Piping | 55 | 1-1/4" Hangers | 50 | ea | 1 | ea | 5 | 0.5 | hrs | 25 | 5 | 1 | ea | 0 | 0 | 1 | ea | 0 | 1 | ea | 0
02 | NIBCO Theaded Valves | 1 | LS | 04 | Dom. Cold Water Piping | 56 | 1" T413 125# Valve | 6 | ea | 1 | ea | 83 | 0.6 | hrs | 25 | 5 | 1 | ea | 0 | 0 | 1 | ea | 0 | 1 | ea | 0
02 | NIBCO Theaded Valves | 1 | LS | 04 | Dom. Cold Water Piping | 57 | 1" T585 ball valve | 8 | ea | 1 | ea | 34.4 | 0.6 | hrs | 25 | 5 | 1 | ea | 0 | 0 | 1 | ea | 0 | 1 | ea | 0
03 | Plumbing Specialties | 1 | LS | 04 | Dom. Cold Water Piping | 58 | Backflow Preventer Scr | 1 | ea | 1 | ea | 325 | 1 | hrs | 0 | 0 | 1 | ea | 0 | 0 | 1 | ea | 0 | 1 | ea | 0
04 | Fiberglass Insulation | 1 | LS | 04 | Dom. Cold Water Piping | 59 | 1" thk pipe cover | 1000 | lnft | 1 | lnft | 1.39 | 0.04 | hrs | 25 | 5 | 1 | lnft | 0 | 0 | 1 | lnft | 0 | 1 | lnft | 0
04 | Fiberglass Insulation | 1 | LS | 04 | Dom. Cold Water Piping | 60 | 1-1/4" thk pipe cover | 500 | lnft | 1 | lnft | 1.15 | 0.04 | hrs | 25 | 5 | 1 | lnft | 0 | 0 | 1 | lnft | 0 | 1 | lnft | 0
04 | Fiberglass Insulation | 1 | LS | 04 | Dom. Cold Water Piping | 61 | 1-1/2 thk pipe cover | 300 | lnft | 1 | lnft | 1.85 | 0.04 | hrs | 25 | 5 | 1 | lnft | 0 | 0 | 1 | lnft | 0 | 1 | lnft | 0
01 | Fixtures | 1 | LS | 05 | DWV Piping | 62 | FS-1 Floor Sink | 1 | ea | 1 | ea | 275 | 1 | ea | 0 | 0 | 1 | ea | 0 | 0 | 1 | ea | 0 | 1 | ea | 0
02 | Sch 40 Galv T&C 150# | 1 | LS | 05 | DWV Piping | 63 | 3" sch 40 glav grv | 140 | lnft | 1 | lnft | 20.12 | 1.9 | hrs | 25 | 5 | 1 | lnft | 0 | 0 | 1 | lnft | 0 | 1 | lnft | 0
02 | Sch 40 Galv T&C 150# | 1 | LS | 05 | DWV Piping | 64 | 3" cuplings glav grv | 5 | ea | 1 | ea | 96 | 0.6 | hrs | 25 | 5 | 1 | ea | 0 | 0 | 1 | ea | 0 | 1 | ea | 0
02 | Sch 40 Galv T&C 150# | 1 | LS | 05 | DWV Piping | 65 | 3" 90 elbow glav grv | 12 | ea | 1 | ea | 90 | 1 | hrs | 25 | 5 | 1 | ea | 0 | 0 | 1 | ea | 0 | 1 | ea | 0
03 | C.I. Soil No Hub | 1 | LS | 05 | DWV Piping | 66 | 2" C.I. no hub | 40 | lnft | 1 | lnft | 7.85 | 0.6 | hrs | 25 | 5 | 1 | lnft | 0 | 0 | 1 | lnft | 0 | 1 | lnft | 0
03 | C.I. Soil No Hub | 1 | LS | 05 | DWV Piping | 67 | 4" C.I. no hub | 20 | lnft | 1 | lnft | 14 | 0.6 | hrs | 25 | 5 | 1 | lnft | 0 | 0 | 1 | lnft | 0 | 1 | lnft | 0
03 | C.I. Soil No Hub | 1 | LS | 05 | DWV Piping | 68 | 2" 1/8 bends | 3 | ea | 1 | ea | 9.8 | 0.6 | hrs | 25 | 5 | 1 | ea | 0 | 0 | 1 | ea | 0 | 1 | ea | 0
03 | C.I. Soil No Hub | 1 | LS | 05 | DWV Piping | 69 | 4" 1/8 bends | 2 | ea | 1 | ea | 16 | 0.6 | hrs | 25 | 5 | 1 | ea | 0 | 0 | 1 | ea | 0 | 1 | ea | 0
03 | C.I. Soil No Hub | 1 | LS | 05 | DWV Piping | 70 | 4" combination | 1 | ea | 1 | ea | 48 | 0.6 | hrs | 25 | 5 | 1 | ea | 0 | 0 | 1 | ea | 0 | 1 | ea | 0